| 083101 | — | ACCESS DOORS – ACOUSTICAL |
| --- | --- | --- |

General

Summary

This section supplements the specification section that applies to the project in general.

Products

Access Doors in Acoustical Walls and Ceilings

Acceptable Products and Manufacturers:

Model STC by Karp Associates; Melville, NY

Model WB STC 650 by Williams Brothers Corp.; Front Royal, VA

ACD-2064 by Acudor

Model Bauco Plus II by Access Panel Solutions; Victoria, BC with additional laminated layer of 5/8” gypsum board

Approved Substitution in accordance with Division 01 requirements

Frame material:  16 gauge steel

Door material:  16 gauge steel

Hinge:  Continuous piano hinge

Latches:  Flush, screwdriver operated

EXECUTION

INSTALLATION

Install materials per manufacturer's recommendations, and as shown on the Drawings.

END OF SECTION 083101